TH 100
[image: image1.jpg]



LCC 100 Software
Configuration software for transmitters sensor (monostats, class 50 and class 100) with RS 232 cable : you can configure the measuring ranges and units, the analog output...

[image: image2.jpg]



Class 2 Power Supply

Class 2 Power supply : mounting brackets or DIN rail, 230 Vac input voltage, 24 Vac or Vdc output voltage, 3 VA ou 12 W power.
      Stainless Steel Clamp

[image: image3.jpg]


                    BF : Clamp for temperature transmitter Ø 6 or 8 mm.
                    BF-6 : Stainless steel clamp for Pitot tube Ø 3 and 6 mm.
                    BF-8 : Stainless steel clamp for Pitot tube Ø 8 mm.
[image: image4.jpg]& 7 A



Stainless Steel

Stainless steel sliding connections with a teflon nipple.
1/4 cylindrical gas threading.
[image: image5.jpg]


                          Stuffing-box 
                           For fixed-station Pitot tubes installation.
                           Diameter 3, 6 or 8 mm.

                       Wall Mounting Plate [image: image6.jpg]



                              Wall-mount plate for remote probe :
                              • Humidity
                              • Velocity
                               for Monostat, Class 50 and Class 100 transmitters.
